## Sheet1
Type | Attribute | Attribute value
1. Details of Installation | TOD | Yes
| ABT | Yes
| Name and Address of the Consumer | PC Test
| Sanctioned Contract Demand in kVA | 10
| Tariff Sanctioned asper Power Sanction Letter | 5
| Connected Current Transformer Ratio (CCTR) | 1:10
| Connected Potential Transformer Ratio (CPTR) | 1:100
| Meter constant (MC) | 9.5 | - | - | -
2. Supply Voltage: |  | 420
3. Input Source Type: |  | Test
4. RMU/LBS Make: |  | Test Make
5. Meggar Values with 5 kV and 500 V Meggar: | HT to LT (5 kV Meggar) in M Ohms | 15
| HT to Ground (5 kV Meggar) in M Ohms | 20
| LT to Ground (500 V Meggar) in M Ohms | 25
6. Ratio Test Results (at field):
CONNECTED CT RATIO | Current Transformer | 1:05
| Potential Transformer | 2:05
PRIMARY INJECTED | Current Transformer | 1:05
| Potential Transformer | 2:05
SECONDARY MEASURED | Current Transformer | 1:05
| Potential Transformer | 2:05
7. Installed CT & PT Details:
CT | Make | ABC
| Type | XYZ
| Class | A
| Insulation | Y
| Burden | N
| Ratio Existing | Y
| Ratio Connected | Y
| R ɸ SL No | 123
| Y ɸ SL No | 456
| B ɸ SL No | 789
PT | Make | ABC
| Type | XYZ
| Class | A
| Insulation | Y
| Burden | N
| Ratio Existing | Y
| Ratio Connected | Y
| R ɸ SL No | 123
| Y ɸ SL No | 456
| B ɸ SL No | 789
8. Metering Cubicle Details: | Make | ABC
| Serial No. | 123456
9. Transformer Details: | Make | ABC
| Capacity in kVA | 100
| Vector Group | 50
| Voltage Ratings | 70
| Current Ratings | 60
| Serial No. | 987654
10. MODEM & SIM Card Details: | Modem Make & Sl. No. | ABC & 565656
| SIM MDN No. | 125634
11. Generator Capacity in kVA (if found/installed): |  | 250
12. Meter Details:
MAIN METER | Make | ABB
| Category | MAIN
| Class | VI
| Voltage | 480
| Amps | 120
| Pulse | 35
| Dial Constant | 2
| Sl. No. | 345678
| Year & Mfd. | 2024 & 12-10-2024
| Wiring Type | TYPE
| Features available | Y
| Com. Port Avail. | N
CHECK METER | Make | ABB
| Category | MAIN
| Class | VI
| Voltage | 480
| Amps | 120
| Pulse | 35
| Dial Constant | 2
| Sl. No. | 345678
| Year & Mfd. | 2024 & 12-10-2024
| Wiring Type | TYPE
| Features available | Y
| Com. Port Avail. | N
13. Seals Details:
MAIN METER (Lead) | Meter Cover | METER COVER
| Terminal Cover | T COVER
| MD Reset Button | M BUTTON
| Test Terminal Block | TERMINAL BLOCK
| Main Door | MAIN DOOR
| Reading Window | READ WIN
| CT&PT Chamber | CT & PT CHAMBER
| Cable Entery Chamber | C E CHAMBER
| Hologram | HOLOG
| Optical Port | OPTIC
| Modem SIM Card Slot | SLOT
MAIN METER (Plastic) | Meter Cover | METER COVER
| Terminal Cover | T COVER
| MD Reset Button | M BUTTON
| Test Terminal Block | TERMINAL BLOCK
| Main Door | MAIN DOOR
| Reading Window | READ WIN
| CT&PT Chamber | CT & PT CHAMBER
| Cable Entery Chamber | C E CHAMBER
| Hologram | HOLOG
| Optical Port | OPTIC
| Modem SIM Card Slot | SLOT
CHECK METER (Lead) | Meter Cover | METER COVER
| Terminal Cover | T COVER
| MD Reset Button | M BUTTON
| Test Terminal Block | TERMINAL BLOCK
| Main Door | MAIN DOOR
| Reading Window | READ WIN
| CT&PT Chamber | CT & PT CHAMBER
| Cable Entery Chamber | C E CHAMBER
| Hologram | HOLOG
| Optical Port | OPTIC
| Modem SIM Card Slot | SLOT
CHECK METER (Plastic) | Meter Cover | METER COVER
| Terminal Cover | T COVER
| MD Reset Button | M BUTTON
| Test Terminal Block | TERMINAL BLOCK
| Main Door | MAIN DOOR
| Reading Window | READ WIN
| CT&PT Chamber | CT & PT CHAMBER
| Cable Entery Chamber | C E CHAMBER
| Hologram | HOLOG
| Optical Port | OPTIC
| Modem SIM Card Slot | SLOT
14. Intial Readings Found:
MAIN / BILLING METER (IMPORT) | Time | 19:30
| Date | 16-12-2024
| r MD kVA | 24
| r Avg. PF | 56
| Total C kWh | 123
| C kWH Zone-1 | 10
| C kWh Zone-2 | 20
| C KWh Zone-3 | 30
| C KWh Zone-4 | 40
| C KVArh Lag | 12
| C KVArh Lead | 15
| C kVAh | 11
| C MD kVA | 10
| Total Billing kWh | 368
| Billing kWh Zone-1 | 110
| Billing kWh Zone-2 | 120
| Billing kWh Zone-3 | 130
| Billing kWh Zone-4 | 140
| Billing kVAh | 23
| Billing kVA / MD | 12
| Billing kVA Zone-1 | 11
| Billing kVA Zone-2 | 12
| Billing kVA Zone-3 | 13
| Billing kVA Zone-4 | 14
| Billing / Avg. PF | 15
| Anomaly/Diagnose | 45
| MD Reset Count | 30
| Auto/Manual | AUTO
MAIN / BILLING METER (EXPORT) | Time | 19:30
| Date | 16-12-2024
| r MD kVA | 24
| r Avg. PF | 56
| Total C kWh | 123
| C kWH Zone-1 | 10
| C kWh Zone-2 | 20
| C KWh Zone-3 | 30
| C KWh Zone-4 | 40
| C KVArh Lag | 12
| C KVArh Lead | 15
| C kVAh | 11
| C MD kVA | 10
| Total Billing kWh | 368
| Billing kWh Zone-1 | 110
| Billing kWh Zone-2 | 120
| Billing kWh Zone-3 | 130
| Billing kWh Zone-4 | 140
| Billing kVAh | 23
| Billing kVA / MD | 12
| Billing kVA Zone-1 | 11
| Billing kVA Zone-2 | 12
| Billing kVA Zone-3 | 13
| Billing kVA Zone-4 | 14
| Billing / Avg. PF | 15
| Anomaly/Diagnose | 45
| MD Reset Count | 30
| Auto/Manual | AUTO
CHECK METER (IMPORT) | Time | 19:30
| Date | 16-12-2024
| r MD kVA | 24
| r Avg. PF | 56
| Total C kWh | 123
| C kWH Zone-1 | 10
| C kWh Zone-2 | 20
| C KWh Zone-3 | 30
| C KWh Zone-4 | 40
| C KVArh Lag | 12
| C KVArh Lead | 15
| C kVAh | 11
| C MD kVA | 10
| Total Billing kWh | 368
| Billing kWh Zone-1 | 110
| Billing kWh Zone-2 | 120
| Billing kWh Zone-3 | 130
| Billing kWh Zone-4 | 140
| Billing kVAh | 23
| Billing kVA / MD | 12
| Billing kVA Zone-1 | 11
| Billing kVA Zone-2 | 12
| Billing kVA Zone-3 | 13
| Billing kVA Zone-4 | 14
| Billing / Avg. PF | 15
| Anomaly/Diagnose | 45
| MD Reset Count | 30
| Auto/Manual | AUTO
CHECK METER (EXPORT) | Time | 19:30
| Date | 16-12-2024
| r MD kVA | 24
| r Avg. PF | 56
| Total C kWh | 123
| C kWH Zone-1 | 10
| C kWh Zone-2 | 20
| C KWh Zone-3 | 30
| C KWh Zone-4 | 40
| C KVArh Lag | 12
| C KVArh Lead | 15
| C kVAh | 11
| C MD kVA | 10
| Total Billing kWh | 368
| Billing kWh Zone-1 | 110
| Billing kWh Zone-2 | 120
| Billing kWh Zone-3 | 130
| Billing kWh Zone-4 | 140
| Billing kVAh | 23
| Billing kVA / MD | 12
| Billing kVA Zone-1 | 11
| Billing kVA Zone-2 | 12
| Billing kVA Zone-3 | 13
| Billing kVA Zone-4 | 14
| Billing / Avg. PF | 15
| Anomaly/Diagnose | 45
| MD Reset Count | 30
| Auto/Manual | AUTO
15. Observations: |  | As per request vide above reference, the new HT MC HT CTs and HT PTs were tested and found OK.