## PCT,Rating-Report- HT
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
(Wholly Owned by Government of Karnataka Undertaking)
No.: EEE/AEE/HTR/HSR/MT/BMAZ/16-17/ | [15 empty] | 2016/ |  |  | 0516/01
Encl. : | [27 empty] | Office of the Executive Engineer (Ele.)
MT Division, BMAZ, BESCOM
#537, VSR Sabhangana, Bhavani Nagar,
Gavipuram, Basavanagudi, Bengaluru-19
Date :
To,
|  | The Assistant Executive Engineer (Ele.) | [25 empty] | Pre-Commissioning Test | [13 empty] | 0
|  | S11 |  | C, O & M Sub-Division BMAZ, BESCOM, | [37 empty] | 0
|  | BENGALURU | [39 empty] | 0
Sir/Madam,
|  |  | Sub: |  | Pre-Commission Test Report of | [11 empty] | HT |  | Installation in | [18 empty] | O & M Unit.
|  |  | Ref: |  | 1) Your request letter No.:
2) Power Sanction letter No.:
*** ***
|  |  | The Pre-Commission test conducted on | [14 empty] | HT |  |  | metering cubicle on | [13 empty] | and following details
for your further needful.
1. Details of Installation: | [31 empty] | TOD: |  | NO |  |  | ABT: |  |  |  | NO
Name and Address of the Consumer
Sanctioned Contract Demand in kVA
Tariff Sanctioned asper Power Sanction Letter
Connected Current Transformer Ratio (CCTR)
Connected Potential Transformer Ratio (CPTR) | [19 empty] | (11kV/√3)/ (110/√3) V
Meter constant (MC) | [12 empty] | - |  | - |  |  | -
2. Supply Voltage: | [8 empty] | 11 kV |  | 3. Input Source Type: | [10 empty] | GOS |  |  | 4. |  | RMU |  | Make: |  |  |  | -
5. Meggar Values with 5 kV and 500 V Meggar:
HT to LT (5 kV Meggar) in M Ohms | [21 empty] | > 2500
HT to Ground (5 kV Meggar) in M Ohms | [21 empty] | > 2500
LT to Ground (500 V Meggar) in M Ohms | [21 empty] | >500
6. Ratio Test Results (at field):
PARTICULERS | [9 empty] | CONNECTED CT RATIO | [11 empty] | PRIMARY INJECTED | [9 empty] | SECONDARY MEASURED
Current Transformer | [9 empty] | 0
Potential Transformer | [9 empty] | (11kV/√3)/ (110/√3) V | [11 empty] | 200 V | [9 empty] | 2 V
7. Installed CT & PT Details: | [22 empty] | 8. Metering Cubicle Details:
PARTICULERS | [7 empty] | CT |  |  |  | PT | [10 empty] | Make
Make | [22 empty] | Serial No.
Type | [7 empty] | Indoor |  |  |  | Indoor | [10 empty] | 9. Transformer Details:
Class | [7 empty] | 0.2 |  |  |  | 0.2 | [10 empty] | Make
Insulation | [22 empty] | Capacity in kVA
Burden | [7 empty] | 2.5VA |  |  |  | 25VA | [10 empty] | Vector Group | [6 empty] | Dyn-11
Ratio Existing | [11 empty] | (11kV/√3)/ (110/√3) V | [10 empty] | Voltage Ratings | [6 empty] | 11kV/433V
Ratio Connected | [7 empty] | 0 |  |  |  | (11kV/√3)/ (110/√3) V | [10 empty] | Current Ratings
Sl. No. | R ɸ | [21 empty] | Serial No.
| Y ɸ | [21 empty] | 10. MODEM & SIM Card Details:
| B ɸ | [21 empty] | Modem Make & Sl. No.
[8 empty] | Resin Cast |  |  |  | Resin Cast | [10 empty] | SIM MDN No. | [6 empty] | Action to be taken by O&M / SDO
11. Generator Capacity in kVA (if found/installed): | [19 empty] | -
Page 1/2
12. Meter Details: | [17 empty] | 13. Seals Details:
PARTICULERS | [6 empty] | MAIN METER |  |  |  | CHECK METER | [6 empty] | PARTICULARS | [8 empty] | MAIN METER | [8 empty] | CHECK METER
Make | [10 empty] | - | [15 empty] | Lead / P.C. |  |  |  | Plastic/Mfg. |  |  |  |  | Lead / P.C. |  |  | Plastic/Mfg.
Category | [6 empty] | Cat-C | [10 empty] | Meter Cover
Class | [6 empty] | 0.2S | [10 empty] | Terminal Cover
Voltage | [6 empty] | 3x63.5V | [10 empty] | MD Reset Button
Amps | [6 empty] | 1A | [10 empty] | Test Terminal Block
Pulse | [6 empty] | 50000 | [10 empty] | Main Door
Dial Constant | [6 empty] | 1 | [10 empty] | Reading Window
Sl. No. | [17 empty] | CT&PT Chamber
Year & Mfd. | [17 empty] | Cable Entery Chamber
Wiring Type | [6 empty] | 3P4W | [10 empty] | Hologram
Features available | [6 empty] | DLMS, TOD & ABT | [10 empty] | Optical Port
Com. Port Avail. | [6 empty] | RS-232 & OP | [10 empty] | Modem SIM Card Slot
14. Intial Readings Found:
PARAMETERS | [5 empty] | MAIN / BILLING METER | [17 empty] | CHECK METER
[6 empty] | → IMPORT | [7 empty] | ← EXPORT | [9 empty] | → IMPORT | [9 empty] | ← EXPORT
Time
Date
r MD kVA
r Avg. PF
Total C kWh
C kWH Zone-0
C kWh Zone-1
C KWh Zone-2
C KVArh Lag
C KVArh Lead
C kVAh
C MD kVA
Total Billing kWh
Billing kWh Zone-0
Billing kWh Zone-1
Billing kWh Zone-2
Billing kVAh
Billing kVA / MD
Billing kVA Zone-0
Billing kVA Zone-1
Billing kVA Zone-2
Billing / Avg. PF
CH kVArH Lag
CH kVArH Lead
CL kVArh Lag
CL kVArh Lead
% THD Voltage
% THD Current
Anomaly/Diagnose
MD Reset Count
Auto/Manual | [5 empty] | Auto
Whether display parameters of ETV meter are as per BESCOM requirement: | [25 empty] | YES
15. Observations:
PC test conducted, by testing CT’s and PT’s for ratio & Polarities, result found satisfactory. The Metering Cubical may be commissioned, duly observing BESCOM and KERC norms & formalities.
Note: As per the corporate order, you are requested to ensure that; active SIM card has to be inserted in the MODEM from your end before commissioning the above installation. Further, you are requested to intimate this office, regarding RR number assigned and SIM MDN (which is inserted in the MODEM by your end) number for the above installation.
(ANANDAKUMAR K)
Consumer / Representative | [25 empty] | Assistant Executive Engineer (Ele.)
Signature with Seal | [25 empty] | HTR, HSR, MT Division, BMAZ
BESCOM, Bengaluru
Page 2/2

## PCT-Report_Data list (hidden)
HT
EHT
1st rating.
periodical calibration.
additional load.
reduction in load.
attending complaint / fault occurred.
Conducting De-Commission Test.
faulty meter replacement.
replacement of old meter with new meter.
YES
NO
220 kV
66 kV
11 kV
Cat-A
Cat-B
Cat-C
NTA46.00
RS-232 & OP
RS-485 & OP
RS-232
RS-485
OP
Oil filled
Resin Cast
Indoor Resin Cast
Outdoor Oil Filled
Indoor
Outdoor
GOS
LBS
RMU
Existing CD:
New CD:
Existing MC:
New MC:
DLMS, TOD & ABT
DLMS & TOD
TOD & ABT
DLMS
TOD
3P3W
3P4W
Forward
Reverse
Auto
Manual
11kV/110V
(11kV/√3)/ (110/√3) V
(11kV/√3)/ ((110/√3) V - (110/√3))
Not Applicable
0.5S
0.2S
0.5
0.2
0.2S
15/38/95
15/35/95
2.5VA
3.75VA
25VA
50VA
3x63.5V
110V
HT-1
HT-2(A) I
HT-2(A) II
HT-2(B) I
HT-2(B) II
HT-2(C) I
HT-2(C) II
HT-3(A) I
HT-3(A) II
HT-3(B)
HT-4
HT-5
1600
10000
16000
50000
1,60,000
SECURE
L&T
-
S8
S10
S11
S12

## Rating Report (hidden)
BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED
(Wholly Owned by Government of Karnataka Undertaking)
No.: EEE/AEE/HTR/HSR/MT/BMAZ/16-17/ | [23 empty] | 2016/ |  |  |  | 0516/01
Encl. : Annexure-I | [38 empty] | Office of the Executive Engineer (Ele.)
MT Division, BMAZ, BESCOM
#537, VSR Sabhangana, Bhavani Nagar,
Gavipuram, Basavanagudi, Bengaluru-19
Date :
To,
|  | The Assistant Executive Engineer (Ele.) | [30 empty] | Additional load. | [32 empty] | 2 | 3
|  | S11 |  | C, O & M Sub-Division BMAZ, BESCOM, | [61 empty] | 1 | 1
|  | BENGALURU | [63 empty] | 3 | 2
Sir/Madam,
[5 empty] | Sub: |  |  | Field Calibration test report of | [17 empty] | HT |  |  |  |  | Installation bearing RR No.: | [26 empty] | of
O & M Unit.
Ref:
*** ***
[5 empty] | The |  | HT |  |  |  | Installation having the following details has been calibrated on | [43 empty] | for
Additional load.
You are requested to take action on the observations and advises recorded in the report enclosed herewith. Compliance report shall be sent to this office regarding the action taken at your end.
Details of Installation : | [43 empty] | TOD: |  |  |  |  | NO | [5 empty] | ABT: | [5 empty] | NO
Name and Address of the Consumer
RR No. | [13 empty] | 0 | [24 empty] | Previously calibrated Date
Nature of installation found | [38 empty] | Existing billing Tariff
CD in kVA | [13 empty] | EXISTING | [24 empty] | NEW (if & only CT/PT ratio modified)
Not Applicable
Connected CT Ratio (CCTR) | [38 empty] | Not Applicable
Connected PT Ratio (CCTR) | [13 empty] | 11kV/110V | [24 empty] | Not Applicable
Meter constant (MC) | [13 empty] | - |  |  | - | [5 empty] | - |  |  |  | - |  |  |  |  | - |  |  | - |  |  |  | - |  |  |  | - |  |  |  | - |  |  |  |  | - |  |  |  | - | [5 empty] | -
New MC with effect from | [38 empty] | Not Applicable
Observation & Advice on Technical Matter:
Existing meter calibrated and found recording within permissible limit of error.
Advice on Renvenu Matter:
Final & Initial Readings (Applicable for Connected CTR Change / Meter Replacement / De-Commission Test)
FINAL READINGS (FR) | [31 empty] | INTIAL READINGS (IR)
Existing / Released Meter Sl. No. | [31 empty] | Existing / Newly Fixed Meter Sl. No.
With Existing MC | [31 empty] | With Existing / New MC
C kWh / B kWh | [12 empty] | → IMPORT | [8 empty] | ← EXPORT | [9 empty] | C kWh | [12 empty] | → IMPORT | [9 empty] | ← EXPORT
C / B kWh TOD Zone-0 | [31 empty] | C kWh TOD Zone-0
C / B kWh TOD Zone-1 | [31 empty] | C kWh TOD Zone-1
C / B kWh TOD Zone-2 | [31 empty] | C kWh TOD Zone-2
r / B kVA (MD) | [31 empty] | r kVA (MD)
r / Avg. Power Factor | [31 empty] | r Power Factor
Yours Faithfully
(ANANDAKUMAR K)
Assistant Executive Engineer (Ele.)
HTR, HSR, MTD, BMAZ, BESCOM, Bengaluru
Copy Submitted:
1. The Executive Engineer (Ele.), MT Division, BMAZ, BESCOM, Bengaluru-19
2. The Executive Engineer (Ele.), HSR C, O & M Division, BMAZ, BESCOM, Bengaluru
[24 empty] | ANNEXURE-1 | [23 empty] | No.: |  |  |  |  | 0516/01
[53 empty] | Date: |  |  | 0
DETAILED CALIBRATION REPORT
RR No. |  |  | 0 | [8 empty] | Existing CD: | [6 empty] | 0 | [10 empty] | Existing CCTR: | [8 empty] | 0 | [7 empty] | Existing MC: | [7 empty] | - |  | - |  | - |  | - |  | - | - | Existing MC
METER READINGS FOUND
PARAMETERS | [5 empty] | EXISTING METER | [28 empty] | REPLACED METER
[6 empty] | MAIN / BILLING METER | [14 empty] | CHECK METER | [13 empty] | MAIN / BILLING METER | [13 empty] | CHECK METER
[6 empty] | → IMPORT | [7 empty] | ← EXPORT | [6 empty] | → IMPORT | [7 empty] | ← EXPORT | [5 empty] | → IMPORT | [6 empty] | ← EXPORT | [6 empty] | → IMPORT | [7 empty] | ← EXPORT
Time
Date
r MD kVA | [13 empty] | -
r Avg. PF | [13 empty] | -
Total C kWh | [13 empty] | -
C kWH Zone-0 | [13 empty] | -
C kWh Zone-1 | [13 empty] | -
C KWh Zone-2 | [13 empty] | -
C KVArh Lag | [13 empty] | -
C KVArh Lead | [13 empty] | -
C kVAh | [13 empty] | -
C MD kVA | [13 empty] | -
Total Billing kWh | [13 empty] | -
Billing kWh Zone-0 | [13 empty] | -
Billing kWh Zone-1 | [13 empty] | -
Billing kWh Zone-2 | [13 empty] | -
Billing kVAh | [13 empty] | -
Billing kVA / MD | [13 empty] | -
Billing kVA Zone-0 | [13 empty] | -
Billing kVA Zone-1 | [13 empty] | -
Billing kVA Zone-2 | [13 empty] | -
Billing / Avg. PF | [13 empty] | -
CH kVArH Lag | [5 empty] | - | [7 empty] | -
CH kVArH Lead | [5 empty] | - | [7 empty] | -
CL kVArh Lag | [5 empty] | - | [7 empty] | -
CL kVArh Lead | [5 empty] | - | [7 empty] | -
% THD Voltage | [5 empty] | - | [7 empty] | -
% THD Current | [5 empty] | - | [7 empty] | -
Anomaly/Diagnose
MD Reset Count
Auto/Manual | [5 empty] | Auto
Page 1/2
[48 empty] | No.: |  |  |  |  | 0516/01
[16 empty] | DETAILED CALIBRATION REPORT | [36 empty] | Date: |  |  | 0
RR No.: |  |  | 0 | [8 empty] | Existing CD: | [6 empty] | 0 | [10 empty] | Existing CCTR: | [8 empty] | 0 | [7 empty] | Existing MC: | [7 empty] | - |  | - |  | - |  | - |  | - | -
SEALS DETAILS | [33 empty] | METER DETAILS
PARTICULARS | [8 empty] | SEALS FOUND | [10 empty] | SEALS LEFT | [13 empty] | PARTICULARS | [5 empty] | EXISTING | [12 empty] | REPLACED
[9 empty] | Main Meter | [5 empty] | Check Meter |  |  |  |  | Main Meter | [5 empty] | Check Meter | [13 empty] | Main Meter | [5 empty] | Check Meter | [6 empty] | Main Meter | [5 empty] | Check Meter
[34 empty] | Make | [11 empty] | - | [6 empty] | - | [5 empty] | -
Meter Cover | [14 empty] | - |  |  |  |  | Retained | [5 empty] | - | [7 empty] | Category/Type
Terminal Cover | [19 empty] | Retained | [5 empty] | - | [7 empty] | Class
MD Reset Button | [19 empty] | Retained | [5 empty] | - | [7 empty] | Voltage
Test Terminal Block | [19 empty] | Retained | [5 empty] | - | [7 empty] | Amps
Hologram | [19 empty] | Retained | [5 empty] | - | [7 empty] | Pulse
Optical Port | [25 empty] | - | [7 empty] | Dial Constant | [5 empty] | 1
Modem SIM Card Slot | [19 empty] | Retained | [5 empty] | - | [7 empty] | Sl. No.
Cubicle Main Door | [8 empty] | UN | [10 empty] | UN | [5 empty] | - | [7 empty] | Year & Mfd.
Meter Reading Window | [25 empty] | - | [7 empty] | Wiring Type
CT&PT Chamber | [19 empty] | Retained | [13 empty] | Features available
Cable Entery Chamber | [19 empty] | Retained | [13 empty] | Com. Port Avail.
MODEM & SIM DETAILS
PARTICULARS | [5 empty] | EXISTING | [28 empty] | REPLACED
Modem | [5 empty] | Make: |  |  |  | ANALOGICS | [7 empty] | Sl. No. | [16 empty] | Make: |  |  |  | - | [7 empty] | Sl. No. |  |  |  | -
SIM MDN No. | [34 empty] | -
CT & PT Details: | [31 empty] | METERING CUBICAL DETAILS
PARTICULARS |  |  |  |  | CURRENT TRANSFORMER | [10 empty] | POTENTIAL TRANSFORMER | [15 empty] | Make | [5 empty] | As Existing
[5 empty] | EXISTING | [5 empty] | FIXED |  |  |  |  | EXISTING | [8 empty] | FIXED | [6 empty] | Sl. No. | [5 empty] | As Existing
Make |  |  |  |  | As Existing | [5 empty] | - |  |  |  |  | As Existing | [8 empty] | -
Type |  |  |  |  | Indoor Resin Cast | [10 empty] | Indoor Resin Cast | [15 empty] | TRANSFORMER DETAILS
Class |  |  |  |  | As Existing | [5 empty] | - |  |  |  |  | As Existing | [8 empty] | - | [6 empty] | Make | [5 empty] | As Existing
Insulation |  |  |  |  | As Existing | [5 empty] | - |  |  |  |  | As Existing | [8 empty] | -
Burden |  |  |  |  | As Existing | [5 empty] | - |  |  |  |  | As Existing | [8 empty] | - | [6 empty] | Capacity | [5 empty] | As Existing
Ratio Exist. |  |  |  |  | As Existing | [5 empty] | - |  |  |  |  | As Existing | [8 empty] | - | [6 empty] | Vector Group | [5 empty] | As Existing
Ratio Conn.t |  |  |  |  | 0 | [5 empty] | - |  |  |  |  | 11kV/110V | [8 empty] | - | [6 empty] | Volatge Rating | [5 empty] | As Existing
Sl. No. | R ɸ |  |  |  | As Existing | [5 empty] | - |  |  |  |  | As Existing | [8 empty] | - | [6 empty] | Current Rating | [5 empty] | As Existing
| Y ɸ |  |  |  | As Existing | [5 empty] | - |  |  |  |  | As Existing | [8 empty] | -
| B ɸ |  |  |  | As Existing | [5 empty] | - |  |  |  |  | As Existing | [8 empty] | - | [6 empty] | Sl. No. | [5 empty] | As Existing
MAIN / BILLING METER INSTANTANEOUS PARAMETERS & CALIBRATION RESULT
PARTICULARS | [6 empty] | CALIBRATOR | [15 empty] | EXISTING MAIN / BILLING METER | [13 empty] | CALIBRATOR | [12 empty] | REPLACED MAIN METER
Phase Sequence
Phase | [6 empty] | R ɸ | [5 empty] | Y ɸ |  |  | B ɸ | [6 empty] | R ɸ |  |  |  |  | Y ɸ | [5 empty] | B ɸ |  |  | R ɸ |  |  |  | Y ɸ |  |  |  | B ɸ |  |  |  |  | R ɸ |  |  |  | Y ɸ | [5 empty] | B ɸ
Voltage
Current
Pr. PF/kW/kVAr/kVA
kW for Calibration | [6 empty] | Calibrated using MTE Automatic Calibrator via Scaner
kVArh for Calibration
%age Error = ((MRI-Calibrator)/MRI) x 100 | [36 empty] | -
CHECK METER INSTANTANEOUS PARAMETERS & CALIBRATION RESULT
PARTICULARS | [6 empty] | CALIBRATOR | [15 empty] | EXISTING CHECK METER | [13 empty] | CALIBRATOR | [12 empty] | REPLACED CHECK METER
Phase Sequence
Phase | [6 empty] | R ɸ | [5 empty] | Y ɸ |  |  | B ɸ | [6 empty] | R ɸ |  |  |  |  | Y ɸ | [5 empty] | B ɸ |  |  | R ɸ |  |  |  | Y ɸ |  |  |  | B ɸ |  |  |  |  | R ɸ |  |  |  | Y ɸ | [5 empty] | B ɸ
Voltage
Current
Pr. PF/kW/kVAr/kVA
kW for Calibration | [6 empty] | Calibrated using MTE Automatic Calibrator via Scaner
kVArh for Calibration
%age Error = ((MRI-Calibrator)/MRI) x 100
(ANANDAKUMAR K)
Consumer / Representative | [14 empty] | Assistant Engineer (Ele.) | [20 empty] | Assistant Executive Engineer (Ele.)
Signature with Seal | [14 empty] | HTR, HSR, MTD, BMAZ, BESCOM, Bengaluru | [20 empty] | HTR, HSR, MTD, BMAZ, BESCOM, Bengaluru
Page 2/2
Page 2/2

## PC-TEST,Rating LT
Office No: | __________________________________ |  |  | BANGALORE ELECTRICITY SUPPLY COMPANY LIMITED | [10 empty] | Office of the Exec Engineer (Ele.)/
To, | [14 empty] | Asst Exec Engineer
Exec Engineer (Ele.) |  |  |  | RR No | _______________________________ |  |  | Name | _____________________________________________ | [5 empty] | MT Division, BESCOM
MT Division, BESCOM |  |  |  | Industry Type | ______________________________ |  |  | Address | _____________________________________________
|  |  |  | Captive Generator Set |  | __________________________________________________________________________
Respected Sir, |  |  |  | Weekly Holiday |  | ___________________________ |  | Tariff | ________________________ |  | Shift | _________________________
|  | Date: _________________ | ____________________________________ |  |  | With reference to the Letter |  |  | ______________________________________ |  |  | Above power installation has been rated and Meters has been inspected
|  | Rating Reason/Periodical/Complaints |  |  | ________________________________________________________________________ | [6 empty] | Last Rating Dated |  | ________________________________________________________
| Meter | Make | Pulse/KW | SL No |  | Model | Phase | Volts | Amps | CT Ratio | Multiplication Factor | Final Reading | % Error |  | Seals
[13 empty] | Found | Left | Place |  | Seals Found | Seals Left
[15 empty] | Main Cover | Lead
Plastic
[15 empty] | Terminal Cover | Lead
| Capacitor Details and Status | Meter Details |  |  |  |  | C.T Details | [8 empty] | Plastic
|  | 1. Time | [9 empty] | CT Numbers |  |  | CT Cover | Lead
|  | 2. Reading |  |  |  |  | 1. Make |  | ___________________ |  | 1 | _________________________________ |  |  |  | Plastic
|  | 3. P.f | [8 empty] | 2 | _______________________________ |  |  | Meter Chamber | Lead
|  | 4. Demand |  |  |  |  | 2. Capacity |  | ____________________ |  | 3 | __________________________________ |  |  |  | Plastic
|  | 5. Bill Reading | [12 empty] | Optical Port | Lead
|  | 6. Reset Count |  |  |  |  | 3. Class and VA |  | ________________________ | [6 empty] | Plastic
|  | 7. Other | 1. Current | [11 empty] | Bus Bar Chamber | Lead
|  |  | 2. Potential | [12 empty] | Plastic
[10 empty] | Old Meter |  | New Meter |  |  | Change over Switch | Lead
| Rating Details |  |  | Tamper Details | [5 empty] | Full Load/Average Load |  | Full Load/Average Load |  |  |  | Plastic
| 1. Volts | ______________________________ |  |  |  |  | 1. Calculated Revised No ( C )
| 2. Full Load Amps | ______________________________ |  | 1. Tamper | ________________________ |  | 2. Revised KW (R )
| 3. Indicated Watts | ______________________________ |  | 2 | ________________________ |  | 3. C T Ratio ( K) | [7 empty] | Above Lead/Plastic/Paper Seals is in my custody after calibration
| 4. P.f | ______________________________ |  | 3. P.T | ________________________ |  | 4. Accu Check parameter
| 5. Rated HP | ______________________________ |  | 4. C.T | ________________________ |  | Found (A )
| 6. N.H.P | ______________________________ |  | 5. Time & Date | ________________________ |  | Left
| 7. Sanctioned H.P | ______________________________ |  | 6. Tamper No | ________________________ |  | %Error ((((C/R)*K)-A)/A)*100 | [7 empty] | Consumer/Representative Signature & Date
| 8. Meter Box Details | ______________________________
Exec Engineer (Ele.)/ Asst Exec Engineer
| Assistant Executive Engineer (Ele.) | [13 empty] | MT Division/Sub Division, BESCOM
| Sub Division | _________________

## C-Report_Data list (hidden)
HT
EHT
1st rating.
Periodical calibration.
Additional load.
Reduction in load.
Attending complaint / fault occurred.
Conducting De-Commission Test.
Faulty meter replacement.
Replacement of old meter with new meter.
Conducting De-Commissioning and Pre-Commissioning Test for cubical replacement (i.e, 2 CTPT to 3 CTPT).
Conducting De-Commissioning and Pre-Commissioning Test for cubical Shifting.
Conducting De-Commissioning and Pre-Commissioning Test for cubical shifting and cubical replacement (i.e, 2 CTPT to 3 CTPT).
Conducting De-Commissioning and Pre-Commissioning Test for cubical shifting and cubical replacement with additional load (i.e, 2 CTPT to 3 CTPT).
Conducting De-Commissioning and Pre-Commissioning Test for cubical replacement with additional load (i.e, 2 CTPT to 3 CTPT).
Conducting De-Commissioning and Pre-Commissioning Test for cubical shifting and cubical replacement with reduction in load (i.e, 2 CTPT to 3 CTPT).
Conducting De-Commissioning and Pre-Commissioning Test for cubical replacement with reduction in load (i.e, 2 CTPT to 3 CTPT).
Conducting De-Commissioning and Pre-Commissioning Test for cubical Shifting with reduction in load.
Conducting De-Commissioning and Pre-Commissioning Test for cubical Shifting with additional load.
Conducting De-Commissioning and Pre-Commissioning Test for renewal of existing temporary power supply.
YES
NO
220 kV
66 kV
11 kV
Cat-A
Cat-B
Cat-C
NTA46.00
RS-232 & OP
RS-485 & OP
RS-232
RS-485
OP
Oil filled
Resin Cast
Indoor Resin Cast
Outdoor Oil Filled
GOS
LBS
RMU
Existing CD:
New CD:
Existing MC:
New MC:
DLMS, TOD & ABT
DLMS & TOD
TOD & ABT
DLMS
TOD
3P3W
3P4W
Forward
Reverse
-
Auto
Manual
11kV/110V
(11kV/√3)/ (110/√3) V
(11kV/√3)/ ((110/√3) V - (110/√3))
0.5S
0.2S
0.5
0.2
0.2S
15/38/95
15/35/95
2.5VA
3.75VA
25VA
50VA
1A
5A
3x63.5V
110V
HT-1
HT-2(A) I
HT-2(A) II
HT-2(B) I
HT-2(B) II
HT-2(C) I
HT-2(C) II
HT-3(A) I
HT-3(A) II
HT-3(B)
HT-4
HT-5
1600
10000
16000
50000
1,60,000
SECURE
L&T
-
ANALOGICS
AMIT
-